## 6006 Rte. 130 S., Pennsauken, NJ 08109

    - 800-996-4776

Fax: 856-663-4465

info@interior-specialties.com

FRAMELESS SHOWER DOORS – DOOR CLOSURE

Typically, Interior Specialties uses a polycarbonate (PVC) strike jamb on the handle side of the glass door, to ensure positive closure and provide a water egress barrier.

It is normal to experience a banging noise upon the door contacting this component.

Do not release the door from afar and allow it to bang the strike jamb, hold the handle until it is within a few inches of the adjacent strike jamb, then release, or place the door in final resting position as applicable.  This is how the product is designed, and will minimize or eliminate the noise.  It will not be considered a defect if the procedure above is not followed.

Typically, doors are designed to remain open only when at or near 90 degrees to the closing plane.  Self closing will typically take place at any angle less than 90.  No adjustment is available for a door to hold open at angles >0 and <90.

FRAMELESS SHOWER DOORS – DOOR BOTTOM SWEEP

Most glass doors include a separate polycarbonate bottom sweep with drip rail, intended to direct water back into the shower.   Typically the 2 soft bottom fins directly under the door bottom will tear off after moderate use.   These fins are non functional if your threshold sill is sloped properly into the shower pan, and torn fins indicates proper sill slope.  If you see the flaps, you may cut them off easily with a razor blade or simply tear them off by hand.  If they have torn off once, they will tear off again if the bottom sweep is replaced.

It will not be considered a defect if the flaps tear off, and is not a warranty item.

SLIDING SHOWER DOORS –  PANEL ORIENTATION

When viewed from the outside of the shower, the inside panel must be nearest any wall mounted shower head, so that water does not escape through the gap in the panels.

It will not be considered a defect if the suggested orientation is not followed, and is not a warranty item.

Thank you for your consideration.